Overview
DCS workshop July 2007
Overview
Installed detectors
FMD3 commissioning
FSM Hierarchy
LV+HV FSMs
FEE FSMs
Databases
Summary
Christian Holm Christensen
30/06/07
Interaction point
FMD3
FMD2
FMD1

---
Installed detectors
Installed detectors
FMD3 installed mid April 2007. Subsequent commissioning.
FMD2 installed end of June.

---
FMD3 Commissionin
FMD3 Commissioning
Systems exercised:
Trigger (from TPC partition, no busy-box)
DAQ
`High'-voltage (~130V) control. Not via PVSS project.
Lab low-voltage power supplies, since no CAEN modules available.
FEE control via dedicated `expert' control.

---
FSM Hierarchy
Finite State Machine Hierarchy
FMD DCS
CU
LU
DU
FMD1
Inner
bottom
HV
[0-4]
LV
[0-3]
RCU
FEE
LV
[0-1]
Inner
top
HV
[0-4]
LV
[0-3]
Inner
bottom
HV
[0-4]
LV
[0-3]
RCU
FEE
LV
[0-1]
Inner
top
HV
[0-4]
LV
[0-3]
Outer
top
HV
[0-9]
LV
[0-3]
Outer
bottom
HV
[0-9]
LV
[0-3]
FMDX
[2-3]
FMD
rack 2
FMD
rack 1
HVPS
[1-2]
LVPS

---
LV+HV channel FSM
LV & HV Finite State Machine
Done: main controls + monitors
To do:
Database: store & restore values for HV/LV settings
Include DCS: Access Controls, Titles, Standard panels
High-Voltage channel
Low-Voltage channel

---
LV+HV 1/2-ring FSM
LV & HV Half-ring Finite State Machine
Done: main controls & monitors
To do:
Panels for FMDx and FMD_DCS
Test w/real power supplies and fans
Include DCS: access control, titles, standard panels
Test FSM for all HV & LV modules w/real hardware
Inner Half-ring
Outer Half-ring

---
FEE FSM
FEE Finite State Machine
Have:
Expert GUI based on PVSS COM extension.
Need:
FSM & controls for RCU LV
FSM & controls for FEE configuration.
Monitor FEE (RCU) parameters (error/status, active FECs, state?)
Archive FEC parameters (temperature, voltages, currents, state?).
Maybe reuse TPC stuff.

---
FEE architecture
FEE Control/Monitoring Architecture
PVSS send high-level commands to InterCom Layer (ICL)
ICL uses CommandCoder for configurations
ICL forwards monitoring from FeeServer
Rcu++ encodes/decodes requests/results.

---
FSM configure
Top-level Finite State Machine (configuring)
Mostly implemented
Need to take care of order (first LV, then FEE conf, and finally HV)
Maybe need to move RCU up in hierarchy
Collaboration with Alexander Kurepin (INR) on this.

---
Databases
Databases
DB schema for FEE defined (need approval by IT)
Transparent access via RcuDB/RcuConf in both DCS and DAQ domain.
Store “tag” as datapoint – later used by DA/Offline SHUTTLE to retrieve settings.
Focus on size & referential safety (3rd normal form)
Never delete
DB schema for LV/HV not clearly defined.

---
Summary
Summary
Implemented and tested
Lower level finite state machines for LV & HV
FEE access architecture
To be done
Test finite state machines for LV & HV w/real hardware – especially CAEN LV supplies.
Implement finite state machine for FEE
Implement monitoring of FEE
Implement sub-detector finite state machine
Get IT approval of FEE DB schema, and populate DB
Formulate LV & HV schema
Test/Implement rack access
Integrate TPC cooling state into finite state machine
DA for retrieving FEE settings for Offline